## 2024
Equipment | Contractor/Company | Cost | Contract Date | Frequency | Last Visit | Date of next Visit | Reports | Visits Made | PLI
Legionella Risk Assessment | Aquachem | 4770 | 2024-07-18 | Annually | 2024-10-09 | 2025-10-09 | 1/1 | 1/1 | YES
Water Tank Chlorination | Aquachem | inc Above | 2024-07-18 | Annually | 2024-09-10 | 2025-09-10 | 1/1 | 1/1 | YES
Legionella Sampling | Aquachem | inc Above | 2024-07-18 | 6 Months | 2024-09-01 | 2025-05-01 | 1/1 | 1/1 | YES
Front Door Hotel /Coffee Shop | Boom Edam | 1300 | 2023-07-02 | Annually | 2024-09-01 | 2025-05-01 | 1/1 | 1/1 | No
AC System | Crystal Air | 13730 | 2023-01-01 | 6 Months | 2024-07-01 | 2025-03-01 | 2/2 | 2/2 | YES
Dry Risers | Diskin Fire | 980 | 2018-07-17 | Annually | 2024-07-22 | 2025-07-22 | 1/1 | 1/1 | YES
Grease Traps | Environmental Products ltd | 2592 | 2023-10-01 | Quarterly | 2024-11-01 | 2025-01-01 | 4/4 | 4/4 | YES
Kitchen Extract | Halcyon | 1750 | 2024-08-14 | 6 Months | 2024-09-30 | 2025-04-01 | 2/2 | 2/2 | YES
Pest Control | ISS | 650 | 2020-01-30 | 2 Months | 2024-08-01 | 2024-10-01 | 5/6 | 5/6 | YES
Intruder Alarms | Ivor Williams Electrical | 750 | 2021-10-18 | Annually | 2023-08-01 | n/a | 1/1 | 1/1 | YES
CCTV | Ivor Williams Electrical | 850 | 2021-10-18 | Annually | 2023-08-01 | n/a | 1/1 | 1/1 | YES
Lifts | Kone | 6150 | 2017-10-19 | Quarterly | 2024-11-13 | 2025-02-01 | 4/4 | 4/4 | YES
AOV/Smoke curtains | Master Fire | 4400 | 2024-08-12 | Quarterly | 2024-09-01 | 2025-09-01 | 1/1 | 1/1 | YES
Emergency Lights | Master Fire | inc Above | 2024-08-12 | Quarterly | 2024-09-01 | 2024-12-01 | 4/4 | 4/4 | YES
Fire Alarm Systems | Master Fire | inc Above | 2022-07-22 | Quarterly | 2024-09-01 | 2024-12-01 | 4/4 | 4/4 | YES
Fire Extinguishers | Master Fire | 620 | 2022-07-22 | Annually | 2024-07-01 | 2025-07-01 | 1/1 | 1/1 | YES
Fire Dampers | NFDI | 8725 | 2023-10-01 | Annually | 2024-09-10 | 2025-09-01 | 1/1 | 1/1 | YES
Lightning Protection | Powercom Solutions | 574 | 2024-04-01 | Annually | 2024-07-01 | 2025-07-01 | 1/1 | 1/1 | YES
HVAC | Quinn Downes | 6524 | 2024-08-01 | 6 Months | 2024-03-01 | 2025-03-01 | 2/2 | 2/2 | YES
Booster Pump Set | Quinn Downes | inc Above | 2019-10-07 | 6 Months | 2024-03-01 | 2025-03-01 | 2/2 | 2/2 | YES
Water Heaters | Quinn Downes | inc Above | 2019-10-08 | 6 Months | 2024-03-01 | 2025-03-01 | 2/2 | 2/2 | YES
BMS | Quinn Downes | inc Above | 2019-10-09 | 6 Months | 2024-03-01 | 2025-03-01 | 2/2 | 2/2 | YES
Cold Water/Mains Water | Quinn Downes | inc Above | 2019-10-10 | 6 Months | 2024-03-01 | 2025-03-01 | 2/2 | 2/2 | YES
Sump Pumps (Sulzer) | Quinn Downes | inc Above | 2019-10-11 | 6 Months | 2024-03-01 | 2025-03-01 | 2/2 | 2/2 | YES
Fire Risk Assessment | Safer Solutions | 1200 | 2024-08-01 | Annually | 2024-09-01 | 2025-09-01 | 1/1 | 1/1 | YES
Fall Arrest System | Skyway Safe Access LTD | 429 | 2024-03-01 | Annually | 2024-03-01 | 2025-03-01 | 1/1 | 1/1 | YES
Hotel Windows /Coffee shop | SMC Group | 4800 | 2024-08-01 | 2 Months | 2024-10-01 | 2025-01-01 | 6/6 | 6/6 | YES
PAT Testing | The Pat Group | 2980 | 2024-07-17 | Annually | 2024-09-01 | 2025-09-01 | 1/1 | 1/1 | YES
Thermal Imaging | The Pat Group | inc with PIR | inc with PIR | Annually | 2023-08-01 | 2025-09-01 | 0/0 | 0/0 | YES
Fixed Wire Testing | The Pat Group | 11392 | 2024-07-17 | Every 5 Years | 2024-09-01 | 2029-09-01 | 1/1 | 1/1 | YES

## 2025
Equipment | Contractor/Company | Cost | Contract Date | Frequency | Last Visit | Date of next Visit | Reports | Visits Made | PLI
Legionella Risk Assessment | Aquachem | 4770 | 2024-07-18 | Annually | 2024-10-09 | 2025-10-09 | 0/1 | 0/1 | YES
Water Tank Chlorination | Aquachem | inc Above | 2024-07-18 | Annually | 2024-09-10 | 2025-09-10 | 0/1 | 0/1 | YES
Legionella Sampling | Aquachem | inc Above | 2024-07-18 | 6 Months | 2025-02-04 | 2025-10-01 | 1/2 | 1/2 | YES
Front Door Hotel /Coffee Shop | Boom Edam | 1300 | 2024-09-04 | 6 Months | 2025-01-27 | 2025-08-01 | 1/2 | 1/2 | YES
AC System | Crystal Air | 13730 | 2023-01-01 | 6 Months | 2025-01-06 | 2025-07-06 | 1/2 | 1/2 | YES
Dry Risers | Diskin Fire | 980 | 2018-07-17 | Annually | 2024-07-22 | 2025-07-22 | 0/1 | 0/1 | YES
Grease Traps | Environmental Products ltd | 2592 | 2023-10-01 | Quarterly | 2025-01-01 | 2025-04-01 | 1/4 | 1/4 | YES
Kitchen Extract | DCI | 1500 | 2025-02-07 | 6 Months | 2024-09-30 | 2025-03-03 | 1/2 | 1/2 | NO
Pest Control | ISS | 650 | 2020-01-30 | 2 Months | 2024-08-01 | 2024-10-01 | 0/6 | 0/6 | YES
Intruder Alarms | CU Security | 250 | 2025-04-01 | Annually | 2023-08-01 | n/a | 0/1 | 0/1 | YES
Takeover Cost | CU Security | 100 | 2025-04-01 | Annually | 2023-08-01 | n/a | 0/1 | 0/1 | YES
Lifts | Kone | 6150 | 2017-10-19 | Quarterly | 2025-02-01 | 2025-05-01 | 1/4 | 1/4 | YES
AOV/Smoke curtains | Master Fire | 4400 | 2024-08-12 | Quarterly | 2024-09-01 | 2025-03-01 | 1/4 | 1/4 | YES
Emergency Lights | Master Fire | inc Above | 2024-08-12 | Quarterly | 2024-12-01 | 2024-03-01 | 1/4 | 1/4 | YES
Fire Alarm Systems | Master Fire | inc Above | 2022-07-22 | Quarterly | 2024-12-01 | 2024-03-01 | 1/4 | 1/4 | YES
Fire Extinguishers | Master Fire | 620 | 2022-07-22 | Annually | 2024-07-01 | 2025-07-01 | 1/4 | 1/4 | YES
Fire Dampers | NFDI | 8725 | 2023-10-01 | Annually | 2024-09-10 | 2025-09-01 | 0/1 | 0/1 | YES
Lightning Protection | Powercom Solutions | 574 | 2024-06-01 | Annually | 2024-07-01 | 2025-07-01 | 0/1 | 0/1 | YES
HVAC | Quinn Downes | 6524 | 2024-08-01 | 6 Months | 2025-03-01 | 2025-09-01 | 1/2 | 1/2 | YES
Booster Pump Set | Quinn Downes | inc Above | 2019-10-07 | 6 Months | 2025-03-01 | 2025-09-01 | 1/2 | 1/2 | YES
Water Heaters | Quinn Downes | inc Above | 2019-10-08 | 6 Months | 2025-03-01 | 2025-09-01 | 1/2 | 1/2 | YES
BMS | Quinn Downes | inc Above | 2019-10-09 | 6 Months | 2025-03-01 | 2025-09-01 | 1/2 | 1/2 | YES
Cold Water/Mains Water | Quinn Downes | inc Above | 2019-10-10 | 6 Months | 2025-03-01 | 2025-09-01 | 1/2 | 1/2 | YES
Sump Pumps (Sulzer) | Quinn Downes | inc Above | 2019-10-11 | 6 Months | 2025-03-01 | 2025-09-01 | 1/2 | 1/2 | YES
Fire Risk Assessment | Safer Solutions | 1200 | 2024-08-01 | Annually | 2024-09-01 | 2025-09-01 | 0/1 | 0/1 | YES
Fall Arrest System | Skyway Safe Access LTD | 429 | 2024-03-01 | Annually | 2024-04-01 | 2025-04-01 | 0/1 | 0/1 | YES
Hotel Windows /Coffee shop | SMC Group | 4800 | 2024-08-01 | 2 Months | 2024-10-01 | 2025-01-01 | 0/6 | 0/6 | YES
PAT Testing | The Pat Group | 2980 | 2024-07-17 | Annually | 2024-09-01 | 2025-09-01 | 0/1 | 0/1 | YES
Thermal Imaging | The Pat Group | 1530 | 2024-08-01 | Annually | 2024-09-01 | 2025-09-01 | 0/1 | 0/1 | YES
Fixed Wire Testing | The Pat Group | Done in 2024 | 2024-07-17 | Every 5 Years | 2024-09-01 | 2029-09-01 | 0/0 | 0/0 | YES