## SYSTEM 1
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 1
Condenser Model | REYQ8T7Y1B |  | Serial | 3602437
Location of Plant | ROOF
Area Served | 101 102 103 104 130 131 132 133 134
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 16.7
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 34.8696
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
07.02.2019 | KK Crystal Air |  | fail |  | plt
30.04.19 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
2025-01-16 | Laughlan Cullen |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## 
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 2
Condenser Model | REYQ8T7Y1B |  | Serial | 2602218
Location of Plant | ROOF
Area Served | 105 106 107 108 109 121 122 123 124 125 127 128 129
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 17.1
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 35.7048
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 3
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 3
Condenser Model | REYQ8T7Y1B |  | Serial | 3602449
Location of Plant | ROOF
Area Served | 110 111 112113 114 115 116 117 118 119 120
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 18.7
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 39.0456
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
2025-01-16 | Laughlan Cullen |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 4
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 4
Condenser Model | REYQ8T7Y1B |  | Serial | 3602468
Location of Plant | ROOF
Area Served | 201 202 203 204 230 231 232 233 234
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 16.7
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 34.8696
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | desobrien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
2025-01-16 | Laughlan Cullen |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 5
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 5
Condenser Model | REYQ8T7Y1B |  | Serial | 2602217
Location of Plant | ROOF
Area Served | 205 206 207 208 209 221 222 223 224 225 226 227 228 229
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 17.7
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 36.9576
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien /crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
2025-01-16 | Laughlan Cullen |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 6
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 6
Condenser Model | REYQ8T7Y1B |  | Serial | 3602435
Location of Plant | ROOF
Area Served | 210 211 212 213 214 215 216 217 218 219 220
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 18.2
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 38.0016
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 7
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 7
Condenser Model | REYQ8T7Y1B |  |  | Serial | 3602442
Location of Plant | ROOF
Area Served | 301 302 303 304 330 331 332 333 334
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A |  | Refrigerant Qty (kg) |  | 16.8
GWP | 2088 |  | 5 TONNE C02 EQ/KG |  | 2.4
|  |  | C02 EQUIVALENT |  | 35.0784
Plant Manufacturer | DAIKIN |  | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  |  | Amount Added Kg |  | Reason for addition
2021-01-28 | S BRYAN CRYSTAL AIR |  |  | 16.6KG |  | SHORT ON GAS
Refrigerant Removals
Date | Technician/Company |  |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
2021-01-26 | S BRYAN CRYSTAL AIR |  |  | 2.5KG |  | PLT CALLED
Refrigerant Leak Tests
Date | Technician/Company |  |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  |  | pass |  | none
2018-01-08 | Stuart Wynne |  |  | pass |  | none
2019-04-30 | des o brien crystal air |  |  | pass |  | none
2019-10-09 | RFG Crystal Air |  |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  |  | PASS |  | NONE
2021-01-20 |  | SCOTT HANNON |  | FAIL |  | PLT
2021-01-28 |  | S BRYAN CRYSTAL AIR |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  |  | Pass |  | None
2024-07-09 | Cian Doyle |  |  | pass |  | none
2025-01-16 | Laughlan Cullen |  |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  |  | Related to test on |  | Actions Taken
2021-02-28 | S BRYAN CRYSTAL AIR |  |  | 2021-01-28 |  | NO FOLLOW UP NEEDED
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 8
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 8
Condenser Model | REYQ8T7Y1B |  | Serial | 2602132
Location of Plant | ROOF
Area Served | 305 306 307 308 309 321 322 323 324 325 326 327 328 329
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 18.8
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 39.2544
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
2025-01-16 | Laughlan Cullen |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 9
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 9
Condenser Model | REYQ8T7Y1B |  | Serial | 3602431
Location of Plant | ROOF
Area Served | 310 311 312 313 314 315 316 317 318 319 329
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 16.9
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 35.2872
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
2025-01-16 | Laughlan Cullen |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 10
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 10
Condenser Model | REYQ8T7Y1B |  | Serial | 3602438
Location of Plant | ROOF
Area Served | 401,402 403 404 430 431 432 433 434
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 15.5
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 32.364
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
2025-01-16 | Laughlan Cullen |  | pass |  | None
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 11
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 11
Condenser Model | REYQ8T7Y1B |  | Serial | 2602142
Location of Plant | ROOF
Area Served | 405 406 407 408 409 421 422 423 424 425 426 427 428 429
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 18.9
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 39.4632
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
2022-02-24 | K Garvey |  | 18.9 kg |  | leak
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
2019-05-28 | des o brien |  | 18.9kg |  | compressor failure
2022-02-24 | K Garvey |  | 0 kg |  | leak on outdoor
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-05-29 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
2025-01-16 | Laughlan Cullen |  | pass |  | None
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
2019-05-29 | des o brien |  | pass |  | none
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 12
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 12
Condenser Model | REYQ8T7Y1B |  | Serial | 3602486
Location of Plant | ROOF
Area Served | 410 411 412 413 414 415 416 417 418 419 420
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 18
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 37.584
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Fail |  | PLT
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
2025-01-16 | Laughlan Cullen |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 13
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 13
Condenser Model | REYQ8T7Y1B |  | Serial | 3602439
Location of Plant | ROOF
Area Served | 501 502 503 504 505 526 527 528 529 530 531
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 17.7
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 36.9576
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 14
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 14
Condenser Model | REYQ8T7Y1B |  | Serial |  | 2602232
Location of Plant | ROOF
Area Served | 506 507 508 509 510 519 520 521 522 523 524 525
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 17.6
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 36.7488
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 15
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 15
Condenser Model | REYQ8T7Y1B |  | Serial | 3602523
Location of Plant | ROOF
Area Served | 511 512 513 514 515 516 517 518
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 16.7
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 34.8696
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
2023-01-24 | Sean Mc Conalogue |  | 15.1+1.6 |  | leak on refnet in condenser
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
2023-01-19 | Sean Mc Conalogue |  | 1.6 |  | PLT
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | FAIL |  | PLT
2023-01-23 | Sean Mc Conalogue |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
2023-01-21 | Sean Mc Conalogue |  | 2023-01-21 |  | repaired Refnet
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 16
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 16
Condenser Model | REYQ8T7Y1B |  | Serial | 3602420
Location of Plant | ROOF
Area Served | 601 602 604 605 626 627 628 629 630 631
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 18
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 37.584
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 17
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 17
Condenser Model | REYQ8T7Y1B |  | Serial | 2602233
Location of Plant | ROOF
Area Served | 606 607 608 609 610 619 620621 622 623 624 625
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 17.7
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 36.9576
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 18
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 18
Condenser Model | REYQ8T7Y1B |  | Serial | 2602140
Location of Plant | ROOF
Area Served | 611 612 613 614 615 616 617 618
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 17.5
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 36.54
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## SYSTEM 19 A+B
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | System 19
Condenser Model | REYQ12T7Y1B MASTER |  | Serial | 2602994
| REYQ10T7Y1B SLAVE |  |  | 2602210
Location of Plant | ROOF
Area Served | GROUND, OFFICE CC20, ADMIN CC25,BAR DINING AREA FC80
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 32.8
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 68.4864
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## COMMS SPLIT
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | COMMS ROOM
Condenser Model | RZQG100L9V1B |  | Serial | 2603895
Location of Plant | ROOF
Area Served | COMMS ROOM
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 4
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 8.352
Plant Manufacturer | DAIKIN | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
2022-07-13 | A Gaffney |  | 4KG |  | PLT
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
2022-07-12 | A Gaffney |  | 1KG |  | PLT
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2018-07-24 | j.kenny/crystal air |  | pass |  | none
2018-01-08 | Stuart Wynne |  | pass |  | none
2019-04-30 | des o brien crystal air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | Pass |  | None
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Fail |  | none
2022-07-13 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
2022-08-11 | A Gaffney Crystal Air |  | 2022-07-13 |  | leak test, Pass
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server

## Esquires Coffee Shop
Refrigerant Record Sheet F Gas Legislation
General Information
Plant Name | Esquires Coffee Shop
Condenser Model | RAV-SM1404ATP-E |  | Serial | 62300340
Location of Plant | Basement beside Water Tank (Out fire exit by Meeting Rooms)
Area Served | Esquires Coffee Shop
Plant Operator | HOLIDAY INN EXPRESS O CONNELL STREET
Address
Phone Number
Operator Contact
Refrigerant Type | R410A | Refrigerant Qty (kg) |  | 2.8
GWP | 2088 | 5 TONNE C02 EQ/KG |  | 2.4
|  | C02 EQUIVALENT |  | 5.8464
Plant Manufacturer | Toshiba | Year of Installation |  | 2016
Refrigerant Additions
Date | Technician/Company |  | Amount Added Kg |  | Reason for addition
Refrigerant Removals
Date | Technician/Company |  | Amount Removed Kg |  | Reason for Removal?What was done with recovered refrigerant
Refrigerant Leak Tests
Date | Technician/Company |  | Test Results (Incl location and cause of any leaks) |  | Follow up actions required
2019-04-30 | Des O'Brien Crystal Air |  | pass |  | none
2019-10-09 | RFG Crystal Air |  | pass |  | none
18/12/2020 | E.Walsh/Crystal Air |  | PASS |  | NONE
2021-11-19 | A Gaffney Crystal Air |  | pass |  | none
2022-07-11 | A Gaffney Crystal Air |  | Pass |  | none
2023-01-13 | RFG Crystal Air |  | Pass |  | None
2023-08-01 | Brandon Myers / Crystal Air |  | Pass |  | None
2024-01-16 | Shane McCabe / Crystal air |  | Pass |  | None
2024-07-09 | Cian Doyle |  | pass |  | none
Follow Up Actions
Date | Technician/Company |  | Related to test on |  | Actions Taken
Testing of Automatic Leak Detection System (if fitted)
Date | Technician/Company |  | Test Result |  | Comment
Hard copies of this document are uncontrolled.
FM-CA-17 (00) | The controlled copy is held on the Crystal Air central server