## Sheet1
ROUTINE MAINTENANCE SERVICE
SULZER PUMPS WASTEWATER IRELAND
ORDER NO. |  |  | 870119 | [7 empty] | RIVERVIEW BUSINESS PARK
NEW NANGOR ROAD, DUBLIN 12
TEL 01 4608888 FAX 01 4608889
RMS Number |  |  | 1498 08 18 |  |  |  | Building Code
Client |  |  | QIUNNDOWNES
Service Date |  |  | 2023-02-28 |  |  |  | Call out by |  | CLIENT / |  |  | CONTACT
Site address |  |  | HOLIDAY INN EXPRESS
28-32 OCONNELL STREET UPPER , DUBLIN
Contact |  |  | CAOIMHE
Tel |  |  | 01 4242424 |  |  |  | E-Mail
Issue Invoice to
System Details
Routine |  |  |  | Emergency |  |  |  | Warranty |  |  |  | RMS |  | X
Pump Qty |  | 2 |  | Sump Depth |  | 2.5 METRE |  | Power |  | 400 V |  | Medium |  | FOUL
Level control |  | HYDROSTATIC SENSOR |  |  |  | Control panel | CP212 |  |  |  | Priority
Pump Type |  | CONFORTO TYPE KM 400/80 -4T / AS0841.196-S22/4 EX-D01
Serial Number |  | 400/80-4 |  |  | Hrs | 42.32 |  | Serial Number |  | 300865225 |  |  | Hrs | 163.16
Pump No.1 |  |  |  |  | Run |  |  | Pump No.2 |  |  |  |  | Run
Application |  | FOUL PUMP STATION LOCATED IN CARPARK
Description
Service Report Details
Pump No.1 |  | PUMP CHECKED AND TESTED ,MOTOR INSULATION OK ,OIL OK ,CABLE OK ,HYDRAULICS OK .PIPEWORK INTACT
PUMP OPERATING CORRECTLY .
Stator Resis Ω |  | 550 |  | DI Resis Ω |  | N/A | Cable X or OK |  | OK | Lifting Chain |  | Y | Certified Y or N |  | Y
Pump No.2 |  | PUMP CHECKED AND TESTED ,MOTOR INSULATION OK ,OIL OK ,CABLE OK ,HYDRAULICS OK .PIPEWORK INTACT
PUMP OPERATING CORRECTLY .
Stator Resis Ω |  | 550 |  | DI Resis Ω |  | N/A | Cable X or OK |  | OK | Lifting Chain |  | Y | Certified Y or N |  | Y
Control Panel |  | ALL TERMINALS SECURE AND LAMPS WORKING OK .
Sump condition |  | TANK APPEARS TO BE OK .
Level Control |  | RECALIBRATED HYDROSTATIC SENSOR ,ALL PARAMETERS ENGAGING CORRECTLY .
Valves
Fault Analysis
|  | OK | Equipment OK |  | X | Requires Attention
Estimated Cost Details
Part No |  |  |  | Description | [5 empty] | Qty |  |  | Nett Price Subtotal
RMS Service
Service Engineer |  |  | MICHAEL BROWNE/IGOR KITTEL |  |  |  | On Time |  |  | Off Time
Clients Signature | [6 empty] | Date | 2022-03-09